# Building Inspection Prep

BNRI / City of Bemidji · Print and bring to the site

Property: ________________________________________

Permit #: ______________   Inspector: ______________   Date: __________

# Before the inspection

- ☐ Inspection scheduled at least 24 hours in advance via SmartGov portal.

- ☐ Approved plans on site, available to inspector.

- ☐ Most recent inspection card / sign-off list on site.

- ☐ Site clean enough that inspector can access all required points.

- ☐ Ladder available if attic or roof inspection is part of scope.

- ☐ Power and water on (or workaround documented).

- ☐ Trade contractors notified if their work is being inspected.

# Common items inspectors look for

- ☐ Framing matches approved plans.

- ☐ Required nailing / fastening schedule visible.

- ☐ Insulation R-values match plan; air sealing complete before drywall.

- ☐ Egress windows in bedrooms meet size and sill height.

- ☐ Electrical: GFCI/AFCI in correct locations; tamper-resistant receptacles where required.

- ☐ Plumbing: traps, venting, water heater TPR routing.

- ☐ Mechanical: combustion air, clearances around appliances.

- ☐ Smoke/CO alarms installed per current MN code.

- ☐ Stair rise/run, handrail height, guard heights.

# If something fails

- ☐ Get the specific code section / item from the inspector before they leave.

- ☐ Confirm what is required for the re-inspection.

- ☐ Re-schedule with 24-hour notice.

Concierge contact: mychal@renewmyblock.com — call before re-inspection if anything is unclear.